## Slide 1
LED MODULE INTEGRATED SPOTLIGHTS
Order Code : L005002.3080M
Product Code : LIGHT.30.80.M
Features
Color : RAL
Body : Alumium
IP Grade : IP44
Installation : Recessed Mounted
Lighting Source : Mid Power LED
Performance Data
Power : 10 W
Flux : 822 lm
Efficiency :83 lm/W
Voltage : 220-240 V AC
Frequency : 50-60 Hz
Power Factor : > 0,9
CCT (K) : 3000 K
CRI : > 80
Photometric Curve
Dimensions
www.siberled.com
İstanbul Yolu 26. Km Susuz mah. Yenimahalle / Ankara / Türkiye
T: +903123517686 siber@siberled.com
Color Options
LIGHT.30.80.M